Assessing the Accuracy of NRR with and without Ground Truth
Assessing the Accuracy of NRR with and without Ground Truth
Roy Schestowitz, Bill Crum, Vlad Petrovic, Carole Twining, Tim Cootes, Chris Taylor

---
Generalised Overlap Measures
… including
Generalised Overlap Measures
William R. Crum, Oscar Camara, Daniel Rueckert, Kanwal K. Bhatia, Mark Jenkinson, and Derek L.G. Hill

---
Overview
Overview
Background and motivation
Assessment methods
  - overlap-based
  - model-based
Experiments
  - validation
  - comparison of methods
Conclusions

---
Non-rigid Registration (NRR)
Non-rigid Registration (NRR)
Alignment of image sets
  - dense correspondence
  - alignment of anatomical structures
Alignment established by
  - image warping
  - comparison with other image(s)
  - maximising similarity
Competing NRR algorithms produce different results

---
Motivation for Assessment
Motivation for Assessment
Different methods for NRR
  - representation of warp (including regularisation)
  - similarity measure
  - optimisation
  - pair-wise vs group-wise
Limitations of current methods of assessment
  - ground-truth deformations
  - binary overlap measures

---
Two New Approaches
Two New Approaches
Generalised overlap
  - multiple labels
  - label interpolation
  - multiple images
Model-based
  - NRR  combined appearance model
  - good registration  good model

---
Generalised Overlap
Generalised Overlap

---
Overlap Measures
Overlap Measures
Existing overlap measures
  - assume binary labels
  - evaluate one label at a time
  - cannot easily be applied to groupwise registration
In practice
  - labels may be interpolated (pv) or fuzzy
  - there may be lots of labels
  - there may be lots of images
Generalise existing overlap measures

---
Binary Overlap Measures
Binary Overlap Measures
Consider label regions A and B
Tanimoto/Jacaard overlap
Dice overlap
A
B

---
Alternate Form
Alternate Form
Binary value at each voxel Ai and Bi
00000000000000000000 00000000000111110000 00000000011111100000 00000011111111000000 00011111111110000000 00001111111111000000
00000111111111100000 00000111111111000000 00000111111110000000 00000011111100000000 00000000000000000000
Region A

---
Interpolated Label Images
Interpolated Label Images
Result of applying NRR
Label values in range [0,1]
Fuzzy union and intersection
00000000000000000000 00000000000¼½¾½¼0000 000000000¼1111½00000 000000½½½1111½000000
000¼½¾111111¾0000000 0000½11111111½000000
00000½11111111¼00000 00000½1111111½000000 00000¾111111½0000000 000000¼¾¾¾¾¼00000000 00000000000000000000

---
Generalised Overlap
Fractional overlap
Accumulated over labels and image pairs

---
Label Weighting
Label Weighting
Implicit volume weighting
Equal weighting
Inverse volume weighting
Label complexity

---
Model-Based Assessment
Model-Based Assessment

---
Model-based Framework
Model-based Framework
Registered image set  statistical appearance model
Good registration  good model
  - generalises well to new examples
  - specific to class of images
Registration quality  Model quality
  - problem transformed to defining model quality
  - ground-truth-free assessment of NRR

---
Building an Appearance Model
Building an Appearance Model
Shape: x
Texture: g
Warp to mean shape
Raster
Scan
Align to mean
NRR
Warp Field
Training set
Model
Statististicalanalysis

---
Training and Synthetic Images
Training and Synthetic Images
Image Space
Training
Model
Synthetic

---
Training and Synthetic Images
Training
Image Space
Image Space
Training
Model
Synthetic
NRR

---
Training and Synthetic Images
Training
Image Space
Image Space
Training
Model
Synthetic
NRR

---
Training and Synthetic Images
Training
Image Space
Image Space
Training
Model
Synthetic
NRR

---
Training and Synthetic Images
Training
Image Space
Image Space
Training
Model
Synthetic
NRR

---
Training and Synthetic Images
Training
Image Space
Image Space
Training
Model
Synthetic
NRR

---
Training and Synthetic Images
Training
Image Space
Image Space
Training
Model
Synthetic
NRR

---
Training and Synthetic Images
Image Space
Training
Image Space
Training
Model
Synthetic
NRR

---
Training and Synthetic Images
Image Space
Training
Image Space
Training
Model
Synthetic

---
Training and Synthetic Images
Training
Synthetic
Image Space
Image Space
Training
Model
Synthetic
Generate

---
Training and Synthetic Images
Training
Synthetic
Image Space
Image Space
Training
Model
Synthetic
Generate

---
Training and Synthetic Images
Training
Synthetic
Image Space
Image Space
Training
Model
Synthetic
Generate

---
Training and Synthetic Images
Training
Synthetic
Image Space
Image Space
Training
Model
Synthetic
Generate

---
Training and Synthetic Images
Training
Synthetic
Image Space
Image Space
Training
Model
Synthetic
Generate

---
Training and Synthetic Images
Training
Synthetic
Image Space
Image Space
Training
Model
Synthetic
Generate

---
Training and Synthetic Images
Training
Synthetic
Image Space
Image Space
Training
Model
Synthetic
Generate

---
Training and Synthetic Images
Training
Synthetic
Image Space
Image Space
Training
Model
Synthetic

---
Training and Synthetic Images
Training
Synthetic
Image Space
Image Space
Training
Model
Synthetic

---
Model Quality
Model Quality
Given measure d of image distance
Training
Synthetic

---
Measuring Inter-Image Distance
Measuring Inter-Image Distance
Euclidean
  - simple and cheap
  - sensitive to small misalignments
Shuffle distance
  - neighbourhood-based pixel differences
  - less sensitive to misalignment

---
Shuffle Distance
Shuffle Distance
Image A
Difference Image S
Image B
1
[Speaker Notes: Get rid of the frames and all the shadows. In the RH figure, reduce size of the shuffle distance map and increase size of the two original images]

---
Varying Shuffle Radius
Varying Shuffle Radius
r = 1
Image A
r = 1.5
r = 2.1
r = 3.7
Image B
[Speaker Notes: Get rid of the shadow – it is particularly disturbing here. Add some ‘r=‘ labels]

---
Experimental Evaluation
Experimental Evaluation

---
Experimental Design
Experimental Design
MGH dataset (37 brains)
Selected 2D slice
Initial ‘correct’ NRR
Progressive perturbation of registration
  - 10 random instantiations for each perturbation magnitude
Comparison of the two different measures
  - overlap
  - model-based

---
Brain Data
Brain Data
Eight labels per image
  - L/R white/grey matter
  - L/R lateral ventricle
  - L/R caudate nucleus
wm
lv
wm
lv
gm
cn
gm
cn
LH Labels
Image
RH Labels
[Speaker Notes: Get rid of the frame!! Unsquash the original and put it on the left so that all the images can be bigger]

---
Perturbation Framework
Perturbation Framework
Alignment degraded by applying warps to data
Clamped-plate splines (CPS) with 25 knot-points
Random displacement (r, ) drawn from distribution
CPS with 1 knot point
Multiple knot points

---
Examples of Perturbed Images
Examples of Perturbed Images

---
Results – Overlap
Results – Overlap
Overlap decreases monotonically with misregistration
[Speaker Notes: Get rid of the frame/shadow and use colour]

---
Results – Model-Based
Results – Model-Based
Measures increase monotonically with misregistration
[Speaker Notes: Get rid of frames/shadows and use colour]

---
Results – Comparison
Results – Comparison
All three measures give similar results
  - overlap-based assessment requires ground truth (labels)
  - model-based approach does not need ground truth
Compare sensitivity of methods
  - ability to detect small changes in registration
[Speaker Notes: Get rid of this hideous monstrosity and do a decent diagram!!!]

---
Results – Sensitivities
Results – Sensitivities
Specificity most sensitive method
[Speaker Notes: Get rid of frame and shadow]

---
Further Tests
Further Tests – Noise
Measure of robustness to noise is sought
Previous experiments were repeated with noise applied
Each image had up to 10% white noise added
Changes in Generalisation and Sensitivity detectable
Curves remain monotonic

---
Practical Applications - Text
Practical Application – NRR Benchmark
3 registration algorithm compared
  - Pairwise registration
  - Groupwise registration
  - Congealing
2 brain datasets used
  - MGH dataset
  - Dementia dataset
3 assessment methods
  - Model-based: Generalisation and Specificity
  - Overlap-based

---
Practical Applications
Practical Application - Results
Results are consistent
Groupwise outperforms pairwise, which outperforms congealing

---
3D Extension
Extension to 3-D
The method was implemented and tested in 3-D
Shuffle neighbourhood to be considered can be a:
  - box
  - cube
  - plane-based comparison (slice-by-slice)
  - or sphere
Validation experiments too laborious to replicate
Instead, 4-5 NRR algorithms will be compared
Ongoing work using annotated IBIM data
Results to be compared against label overlap

---
Conclusions
Conclusions
Both approaches sensitive to subtle misregistration
Overlap and model-based approaches ‘equivalent’
Overlap provides ‘gold standard’
Specificity is a good surrogate
  - monotonically related
  - no need for ground truth
  - more sensitive
  - only applies to groups (but any NRR method)